City of Greater Dandenong

Sustainable Design Assessment in the Planning Process (SDAPP)

Sustainable Management Plan (SMP)

Guidance Document

January 2017

Table of Contents

Introduction	3

1.0	Indoor Environment Quality (IEQ)	5

2.0	Energy Efficiency (and Sunshading)	6

3.0	Water Efficiency	7

4.0	Stormwater Management (and Site Permeability)	8

5.0	Building Materials	9

6.0	Transport	10

7.0	Waste Management	11

8.0	Urban Ecology (and Green Roofs, Walls & Facades)	12

9.0	Innovation (and Melbourne Climate)	13

10.0	Construction and Building Management	14

11.0	Environmentally Sustainable Design (ESD) Tools	15

# Introduction

This document provides planning permit applicants with guidance on how to effectively and efficiently meet the City of Greater Dandenong’s environmentally sustainable development (ESD) requirements through the preparation of a Sustainability Management Plan (SMP).

They should be read in conjunction with the SDAPP Fact Sheets and the SMP Example Report, and used in conjunction with the SMP Report Template and the BESS Assessment Tool.

SDAPP Framework and Program

Greater Dandenong uses the Sustainable Design Assessment in the Planning Process (SDAPP) Framework and Program developed by the Municipal Association of Victoria (MAV) and the Council Alliance for a Sustainable Built Environment (CASBE). SDAPP provides clear guidance on sustainability goals and a consistent process and approach used by participating Councils throughout Victoria.

Please refer to SDAPP Fact Sheet on the Greater Dandenong website for further information.

When is an SMP required?

An SMP is required for all larger developments, comprising of 15 or more residential dwellings or more than 2499m2 of non–residential Gross Floor Area (GFA).

What is an SMP?

An SMP is a detailed sustainability assessment of a proposed design at the planning stage. An SMP identifies beneficial, easy to implement and best practice sustainability initiatives. It addresses the 10 Key Sustainable Building Categories and demonstrates that a holistic sustainable design review has been undertaken during a project’s early design stage. In relation to these categories, an SMP must:

- Identify relevant sustainability targets or performance standards

- Document the means by which the appropriate target or performance will be achieved.

The nature of larger developments provides the opportunity for increased environmental benefits and the opportunity for major resource savings. Hence, greater rigour in investigation is justified. It may be necessary to engage a sustainability professional to prepare an SMP.

Please refer to the SMP Example Report and SMP Report Template on the Greater Dandenong website for further information.

Supporting Environmentally Sustainable Design

A number of Victorian Civil Assessment Tribunal (VCAT) decisions, notably Hasan (VCAT 1931) and Jolin (VCAT 467), and, the Greater Dandenong Planning Scheme itself provide a rationale for supporting the implementation of the concept of environmental sustainability in planning permit decision making.  The policy basis supporting environmental sustainability in planning permit decision making is detailed in clauses 12, 15.01-3 and 15.02 of the State Planning Policy framework (SPPF) and clauses 21.03-1, 21.03-2, 21.04-1, 21.04-3, 21.05, 21.05-3, 21.06, 21.06-2, 21.06-3, 21.07, 21.07-1, 21.07-2, 21.07-3, 21.07-4 of the Local Planning Policy Framework, as well as in several specific local planning policies in clause 22 of the Greater Dandenong Planning Scheme.

Project Information

The applicant must state the property address, describe the type of development and include information about floor area (m2).  All relevant environmental features such as site permeability, building orientation, water capture areas and gross floor area of different building uses should be captured.  The ESD approach should be outlined including its environmental values, philosophy and summary of key ESD objectives.

Response to the Policy Framework

The applicant should outline and discuss in general terms how the proposed development will achieve the relevant sustainability objectives of both the State Planning Policy Framework (SPPF) and the Local Planning Policy Framework (LPPF) of the Greater Dandenong Planning Policy.

Environmental Categories

Each criterion is one of the 10 Key Sustainable Building Categories.  The applicant is required to address each relevant criterion and demonstrate how the design meets its objectives.

Objectives

Within this section the general intent, the aims and the purposes of the category are to be explained.

Issues

This section comprises a list of topics that might be relevant within the environmental category.  As each application responds to different opportunities and constraints, it is not required to address all issues only those which are directly relevant to the proposal.  The list is non-exhaustive and topics can be added to tailor to specific application needs.

Assessment Method Description

The applicant must explain what standards have been used to assess the applicable issues.  For a list of potential standards, please refer to the section ‘Relevant Standards’.

Benchmarks

The applicant is required to briefly explain the benchmark applied and if relevant discuss how it may be measured using key performance indicators (KPIs).  A benchmark description is required for each environmental issue that has been identified as relevant. A response to how these benchmarks have been met should be included, including reference to the design brief, drawings, specifications, consultant reports or other evidence that proves compliance with the chosen benchmark.

ESD Matters on Architectural Drawings

Architectural drawings should reflect all relevant ESD matters where feasible. As an example, window attributes, sun shading and materials should be noted on elevations and finishes schedules, water tanks and renewable energy devices should be shown on plans. The site’s permeability should be clearly noted. It is also recommended to indicate water catchment areas on roof- or site plans to confirm water re-use calculations.

# Indoor Environment Quality (IEQ)

Objectives: To achieve a healthy indoor environment quality for the wellbeing of building occupants. To provide a naturally comfortable indoor environment will lower the need for building services, such as artificial lighting, mechanical ventilation and cooling and heating devices.

Issues:

Topics to be addressed may include:

- Daylight

- External Views

- Hazardous Materials and VOC

- Glare Prevention

- Electric Lighting Levels

- Thermal Comfort

- Acoustics

- Other

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Good Environmental Choice Australia Standards

- Australian Green Procurement

- BCA provisions provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- Good Environmental Choice Australia Standards www.geca.org.au

- Australian Green Procurement www.greenprocurement.org

- Residential Flat Design www.planning.nsw.gov.au

- Your Home www.yourhome.gov.au

# Energy Efficiency (and Sunshading)

Objectives: - To ensure the efficient use of energy. - To reduce total operating greenhouse emissions. - To reduce energy peak demand. - To reduce associated energy costs.

Issues:

Topics to be addressed may include:

- Operating Energy

- Energy Sub-Metering

- Lighting Power Density and Zoning

- Peak Energy Demand Reduction

- Air leakage minimised

- Efficient Shading

- Building Fabric enhanced over minimum BCA requirements

- HVAC zoning

- Efficient HVAC system

- Efficient onsite generation of electricity

- Allowance for efficient fans and pumps (e.g. VSD)

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Window Efficiency Rating Scheme (WERS) compares summer and winter performance

- Minimum Energy Performance Standards (MEPS) Regulations in Australia

- Energy Ratings are available for various appliances, incl. air-conditioning

- BCA provisions provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- House Energy Rating www.makeyourhomegreen.vic.gov.au

- First Rate www.sustainability.vic.gov.au

- Building Code Australia www.abcb.gov.au

- Window Efficiency Rating Scheme (WERS) www.wers.net

- Minimum Energy Performance Standards (MEPS) www.energyrating.gov.au

- Energy Efficiency www.resourcesmart.vic.gov.au

# Water Efficiency

Objectives: - To ensure the efficient use of water. - To reduce total operating potable water use. - To encourage the collection and reuse of stormwater. - To encourage the appropriate use of alternative water sources (e.g. grey water). - To minimize associated water costs.

Issues:

Topics to be addressed may include:

- Minimising Amenity Water Demand

- Water Meter

- Landscape irrigation

- Heat Rejection Water

- Fire Systems Check Water Consumption

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Water Efficient Labelling Scheme (WELS) provides information on appliances and fittings; highest available ratings are recommended

- Water Services Association of Australia, The national Water Conservation Rating and Labelling Scheme

- BCA provisions provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- Water Efficient Labelling Scheme (WELS) www.waterrating.gov.au

- Water Services Association of Australia www.wsaa.asn.au

- Melbourne Water STORM calculator www.storm.melbournewater.com.au

- Sustainable Landscaping www.ourwater.vic.gov.au

# Stormwater Management (and Site Permeability)

Objectives: - To reduce the impact of stormwater run-off. - To improve the water quality of stormwater run-off. - To achieve best practice stormwater quality outcomes. - To incorporate water sensitive urban design principles.

Issues:

Topics to be addressed may include:

- STORM rating

- MUSIC modelling

- Discharge to Sewer

- Watercourse Pollution

- Stormwater caption

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- STORM rating, minimum 100% is required

- Meeting Victoria’s best practice storm water targets is strongly recommended

- Water Sensitive Urban Design

- Environmental Protection Authority Victoria

- Water Services Association of Australia, The national Water Conservation Rating and Labelling Scheme

- BCA provisions and the Building regulations provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- Melbourne Water STORM calculator www.storm.melbournewater.com.au

- Water Sensitive Urban Design Principles www.melbournewater.com.au

- Environmental Protection Authority Victoria www.epa.vic.gov.au

- Water Services Association of Australia www.wsaa.asn.au

- Sustainable Landscaping www.ourwater.vic.gov.au

# Building Materials

Objectives: To minimise the environmental impacts materials used by encouraging the use of materials with a favourable lifecycle assessment based on the following factors: - Fate of material - Recycling/Reuse - Embodied energy - Biodiversity - Human health - Environmental toxicity - Environmental responsibility.

Issues:

Topics to be addressed may include:

- Storage for Recycling Waste

- Reuse of Materials and other Recycled Materials

- Embodied Energy of Concrete

- Embodied Energy of Steel

- Sustainable Timber

- Design for Disassembly

- Environmental toxicity

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Forest Stewardship Council Certification Scheme

- BCA provisions and the Building regulations provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- Building Materials, Technical Manuals www.yourhome.gov.au

- Embodied Energy Technical Manual www.yourhome.gov.au

- Good Environmental Choice Australia Standards www.geca.org.au

- Forest Stewardship Council Certification Scheme www.fsc.org

- Australian Green Procurement www.greenprocurement.org

# Transport

Objectives: - To minimise car dependency. - To ensure that the built environment is designed to promote the use of public transport, walking and cycling.

Issues:

Topics to be addressed may include:

- Minimising the provision of car parks for conventional vehicles

- Providing bike storage

- Providing Access to Showers

- Car sharing

- Green Travel Plan

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Council Legislation

References and useful information:

- Off-setting Car Emissions Options www.greenfleet.com.au

- Sustainable Transport www.transport.vic.gov.au/doi/internet/icy.nsf

- Car share options www.yarracity.vic.gov.au/Parking-roads-and-transport/Transport-Services/Carsharing/

- Bicycle Victoria www.bv.com.au

# Waste Management

Objectives: - To ensure waste avoidance, reuse and recycling during the design, construction and operation stages of development. - To ensure long term reusability of building materials. - To meet Councils’ requirement that all multi-unit developments must provide a Waste Management Plan in accordance with the Guide to Best Practice for Waste Management in Multi-unit Developments 2010, published by Sustainability Victoria.

Issues:

Topics to be addressed may include:

- Construction Waste Management Plan

- Construction Environmental Management Plan

- Operation Waste Management Plan

- Operation Environmental Management Plan

- Storage spaces for recycling and green waste

- Contractor has valid ISO14001 accreditation

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Section 3 / 4 of the NSW Environmental Management Systems Guidelines 1998 or 2007

- ISO14001 Environmental Management System (EMS)

References and useful information:

- Construction and Waste Management www.sustainability.vic.gov.au

- Preparing a WMP www.epa.vic.gov.au

- Waste and Recycling www.resourcesmart.vic.gov.au

- Better Practice Guide for Waste Management in Multi-Unit Dwellings (2002) and

- Waste reduction in office buildings (2002) www.environment.nsw.gov.au

# Urban Ecology (and Green Roofs, Walls & Facades)

Objectives: - To protect and enhance biodiversity. - To provide sustainable landscaping. - To protect and manage all remnant indigenous plant communities. - To encourage the planting of indigenous vegetation.

Issues:

Topics to be addressed may include:

- On site topsoil retention

- Reuse of already developed land

- Maintaining / Enhancing Ecological Value

- Reclaiming contaminated land

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Council Legislation

References and useful information:

- Department of Sustainability and Environment www.dse.vic.gov.au

- Australian Research Centre for Urban Ecology www.arcue.botany.unimelb.edu.au

- Greening Australia www.greeningaustralia.org.au

- Green Roof Technical Manual www.yourhome.gov.au

# Innovation (and Melbourne Climate)

Objectives: To encourage innovative technology, design and processes in all development, which positively influence the sustainability of buildings.

Issues:

Topics to be addressed may include:

- Significant enhancements to the environmental performance

- Innovative social improvements

- New technology

- New design approach

- Other

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

- Exceeding typical performance benchmarks or enhancing typical building processes

- BCA provisions provide minimum standards; improvements on these minimum requirements are strongly encouraged

References and useful information:

- Green Building Council Australia www.gbca.org.au

- Victorian Eco Innovation lab www.ecoinnovationlab.com

- Business Victoria www.business.vic.gov.au

- Environment Design Guide www.environmentdesignguide.com.au

# Construction and Building Management

Objectives: To encourage a holistic and integrated design and construction process and ongoing high performance.

Issues:

Topics to be addressed may include:

- Construction Environmental Management Plan

- Contractor has valid ISO14001 accreditation

- Operation Environmental Management Plan

- Building Tuning

- Building User’s Guide

- Other

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Relevant Standards:

- Green Star, BREEAM and LEED provide benchmarks for relevant issues

References and useful information

- ASHRAE and CIBSE Commissioning handbooks

- International Organization for standardization – ISO14001 – Environmental Management Systems

# Environmentally Sustainable Design (ESD) Tools

Objectives: To provide an effective and independent way to measure and benchmark the proposed building’s design and its performance.

Relevant ESD Tools:

- BESS (Built Environment Sustainability Scorecard)

- Green Star (Design and As-Built)

- NatHERS (National Housing Energy Rating Scheme)

- NABERS (National Australian Built Environment Rating Scheme)

- STORM (Stormwater Treatment Objective Relative Measure)

- MUSIC (Model for Urban Stormwater Improvement Conceptualisation).

Issues addressed by each ESD Tool:

|  | BESS | Green Star | NatHERS | NABERS | STORM | MUSIC |
| --- | --- | --- | --- | --- | --- | --- |
| IEQ | × | × |  | × |  |  |
| Energy | × | × | × | × |  |  |
| Water | × | × |  | × |  |  |
| Stormwater | × |  |  |  | × | × |
| Materials |  | × |  |  |  |  |
| Transport | × | × |  |  |  |  |
| Waste | × | × |  | × |  |  |
| Ecology | × | × |  |  |  |  |
| Innovation | × | × |  |  |  |  |
| Management | × | × |  |  |  |  |

Applicant Responses:

The applicant is required to address the above applicable criteria and demonstrate how the design meets the intent.  The response should include the following:

- Assessment Method Description

- Benchmarks Description

- How does the proposal comply with the benchmarks?

Links to each ESD Tool:

- BESS – www.bess.net.au

- Green Star – www.gbca.org.au

- NatHERS – www.nathers.gov.au

- NABERS - www.nabers.com.au

- STORM - www.storm.melbournewater.com.au

- MUSIC – www.toolkit.ewater.com.au/tools/MUSIC